## Sheet1
Punta Banda Estuary |  |  |  | Site | Y Handpump |  |  | PB Purification Plant source water
|  |  |  | Lat: | N 31 43.678
|  |  |  | Long: | W 116 34.698
|  |  |  | Sample Date | 2011-12-29 |  |  | 2011-12-29
|  |  |  | Analysis Date | 2011-12-31 |  |  | 2012-01-01
Container ID
Comments
Ambient Temp
Ambient %H
|  |  |  | Sample Temp | 65 F
|  |  |  | Analysis Temp | 1900-02-28
|  |  |  | Analysis %H | 79%
Analysis Type | Manufacturer | Units | Norms | Target | Results | Notes | Anomoly | Results | Notes | Anomoly | Results | Notes | Anomoly | Results | Notes | Anomoly | Results | Notes | Anomoly | Results | Notes | Anomoly
Refractometer | Milwaukee Inst. | none |  | index refraction | 1.002 | calibrated |  | 1.002
EC | HM Digital | uS |  | E conductivity | 3416 | 17.7 |  | 4461 uS | 18.2 C
Dip pH | Smartpond |  |  | pH (dip)
Dip alkalinity | Smartpond |  |  | alkalinity (dip)
Dip hardness | Smartpond |  |  | hardness (dip)
Dip Fe III | WaterWorks | ppm |  | Fe III | <.5
Dip Metals | Sensafe | ppm |  | Metals | < 20 |  |  | <10 ppb
Dip Hg | Sensafe | ? |  | Hg
EXACT
DPD-1 | M7+ | ppm |  | Free CL | Lo
DPD-1/DPD-3 | M7+ | ppm |  | Total Cl | 0.02
| M7+ |  |  | pH | 6.9 |  |  | 6.9
Alkalinity | M7+ | ppm |  | Alkalinity | 105
Ca hardness | M7+ | ppm |  | Ca | Hi; 117
| M7+ |  |  | Cu | Lo
| M7+ |  |  | Turbidity | ? | see notes, 100% |  | see notes, 99.7%
| M7+ | ppm |  | NO3 | .1, .1
| M7+ | ppm |  | SO4- | 125
Flouride | M7+ | ?? |  | Flouride | .9, .8
Lead test | M8 | ug/L |  | Pb | 0 |  |  | 0
Mercury test | M8 | ug/L |  | Hg
Pesticide (Atrazine, Simazine) | WaterSafe |  |  | pesticide | None |  |  | None
Bacteria | WaterSafe |  |  | Bacteria | 10^4 - 10^6 | Bacterial tests performed same day as collection |  | ~10^7 | Bacterial tests performed same day as collection